## Slide 1: Rx 18-26 GHz Control System Block Diagram (2nd Version)
Back-Plane Adapter
Vacuum
Gauge
Fischer
24 Ways
Dewar
Fisher
27 Ways
Antenna
Unit
T1
T2
Cryo
Power Box
CRYO TEMP & CAL NOISE CONTROLS
ANTENNA UNIT POWER SUPPLY
VACUUM GAUGE CTRL
VACUUM VALVE COMMAND
DEWAR HEATERS
220VAC
UPS
Receiver Control Box
Vacuum
Pump
Vacuum
Valve
VACUUM PUMP MAIN POWER
COOL HEAD
POWER IN
Cool
Head
COOL HEAD POWER OUT
‘D’ 37M
Fischer
3 Ways
‘D’ 25F
‘D’ 9F
220VAC
UPS
RS232
LAN
‘D’ 15F
I
Conv.
AUX I/O
Local Oscillator
K
RF
K
RF
Cal Noise
SD / VLBI MODE
SPARE
‘D’ 25M
VACUUM PUMP CONTROL
Fischer
2 Ways
Fischer
2 Ways
(T3)
(T4)
Fischer
2 Ways
BACK-END
CAL SYNCH
SWITCH
TEMP.
SENS. 1
TEMP.
SENS. 2
TEMP.
SENS. 3
µPC
#2
‘D’ 15M
RJ45
DIN
41612
C
64PIN
‘D’ 9F
DIN 41612 C
96PIN
Cryo
Power
Board
IDC
20PIN
‘D’ 25F
IDC
20
PIN
ADIXEN
VARIAN
INTER
CONN
BOARD
5BIT
I/O
USE ‘D’ 37F CONNECTORS FOR LNAs BIAS